| HS030 |  |
| --- | --- |
| Plant Register and Inspection, Testing and Monitoring Schedule |  |

Related Procedure: HS312 Inspection, Testing and Monitoring Procedure

| Faculty/Division | School/ Divisional Unit | If not a Central Register then Location {e.g. room number} |
| --- | --- | --- |
| Document number | Initial Issue date | Current version | Current Version Issue date | Next review date |

The following register is separated into two sections:

- School/Local Area section: plant and equipment for which the school organises the inspection, testing or monitoring.

- Facilities Management (FM) section:  plant and equipment for which FM coordinates the inspection, testing or monitoring.  Please note:  this list is an excerpt from the full inspection, testing and monitoring schedule held by FM for all infrastructural items.  The local area needs to monitor that these items are tested at the set frequency.

- Template for Schools / units to fill in for their own area which may lie outside section 1

Areas may choose to use the Equipment and Maintenance register within SafeSys as an alternative to this form.

Section 1: School/Local Area organised items

| Item to be Tested {include ID number if applicable} | Legislation /Standards | Type of Test | Competency required | Frequency | Responsibility for Testing i.e. Performed by? | Testing coordinated by | Date Scheduled | Location of Inspection, Test and Maintenance records | Risk Management form or Safe Work Procedure {for item of plant} | Any alterations | WorkCover registrable |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Autoclave | AS: 2182 AS: 2192 AS: 1410 AS: 4187 AS: 4815 | Service & Calibration | Manufacturer- authorised Service Technicians | Annually | SB Autoclaves (Australasia) | {e.g. name of area supervisor} | {e.g. each January} | e.g. Room G12 | e.g. RA_001 |  | Pressure vessels with hazard level of A, B or C (except LP gas fuel vessels for automotive use; serially produced pressure vessels; or pressure vessels that do not require periodic internal inspection) |
| Autoclave | AS:2243.3 | Validation | Trained in SWP for Autoclave e.g. SWP_004 | Monthly | {e.g. Lab Manager} | {e.g. name of area supervisor} | e.g. 1st of each Month | e.g. Room G12 | e.g. RA_001 |  | Pressure vessels with hazard level of A, B or C (except LP gas fuel vessels for automotive use; serially produced pressure vessels; or pressure vessels that do not require periodic internal inspection) |
| Beta Radiation Monitor {and model e.g. Mini 900 Rate meter} | Radiation Control Act 1990 Radiation Control Regulation 2013 | Calibration | Manufacturer- authorised Service Technicians | Annually | e.g. ANSTO | {e.g. name of area supervisor} | e.g. each June | e.g. Room G12 | n/a |  | No |
| Biological Safety Cabinets Class I and II | AS:2252 AS:2243.6 | Testing | Accredited Technicians | Annually | {e.g. Contamination Control Laboratories } | {e.g. name of area supervisor} | e.g. each April? | Test & Verification Certificate, in Room ? | n/a note: there are various risk assessments for tasks conducted in the Biosafety cabinet as per the document control register |  | No |
| Electrical Testing & Tagging All electrical appliances in the facility | AS: 3760 | Electrical Testing & Tagging | Person with accredited training and appropriate electrical competency as per AS: 3760 | As per risk e.g. Annually if electrical equipment is located in hostile environment, Every 5 years if electrical equipment is located in office environment | Name of person / contractor e.g. Lec Safe | {e.g. name of area supervisor}} | e.g. Some Lab Equipment each April Lower risk lab equipment April biannually Etc. | Electrical & Testing Tags on the appliances | {e.g. risk assessment to determine frequency of testing} |  | No |
| Eyewash and shower Stations {list locations} | AS: 4775: | Test & Verification | N/A | Weekly | {e.g. Lab Supervisor} | e.g. Lab Supervisor | Weekly | Adjacent to the Eyewash Station | If doing this less frequently then need to justify in a safety document |  | No |
| First Aid Kits {list locations} | N/A | Check contents and replace any used or expired contents | First Aid Training | e.g. Quarterly | {name of trained First Aid Officers} | {name of trained First Aid Officers} | e.g. Feb May Aug Nov | Supplies Checklist and records kept in the First Aid Kits | n/a |  | No |
| Gas Regulators | Manufacturer’s Instructions | 1.Visual Inspection 2 Refurb. /Rebuild | Accredited service provider | 1.Annually 2.Every 5 years | (e.g. Vital Resus.) | {e.g. area supervisor} | {e.g. each April} {then list the Year for the 5 yearly} | {room No.} | n/a |  | No |
| Laminar Flow Cabinets | AS:1386.5 AS:2243.3 | Test & Verification | Manufacturer- authorised Service Technicians | Annually | {e.g. Contamination Control Laboratories } | {e.g. area supervisor} | {e.g. each April} | (e.g. Test & Verification Certificate, in room ?} | n/a note: there are various risk assessments for tasks conducted in the laminar flow cabinet as per the document control register |  | No |
| Laminar Flow Cytotoxic Drug Safety Cabinet | AS2567 | Test & Verification | Manufacturer- authorised Service Technicians | Annually | {e.g. Contamination Control Laboratories } | {e.g. area supervisor} | {e.g. each April} | (E.g. Test & Verification Certificate, in room ?} | n/a note: there are various risk assessments for tasks conducted in the cytotoxic drug cabinet as per the document control register |  | No |
| Machinery Guards, controls, interlocks, emergency stops etc List each item of plant requiring such testing here | AS: 4024.1 | Functional Tests | Competency as outlined in AS: 4024.1 | As per Australian Standard for the equipment or if none then as per manufacturer’s instructions | Manufacturer- authorised Service Technicians or appropriate competent person in local area | {e.g. area supervisor} | Various in accordance with equipment | {e.g. with plant maintenance records} | RA_060 RA_061 RA_062 Etc. risk assessments for each specific piece of plant |  | No |
| Mercury HBO Burners in Fluorescence Microscopes {list types e.g.} | Manufacturer’s manual | Monitor | Competent in SWP for use of the Microscopes | Every time the microscopes are used | Microscope / HBO Burner Operators | {e.g. area supervisor} | Ongoing | {Note location of Logsheets } | {e.g. RA_010} |  | No |
| Microscopes list types | Manufacturer’s manual | Maintenance | Manufacturer- authorised Service Technicians | Annually | (e.g. Eyepoint Instruments} | {e.g. Area Supervisor} | (e.g. April} | (e.g. Maintenance Report in room ?} | {e.g. RA_020} |  | No |
| Milli Q Water System | Determined by the instrument | Cleaning with Tablets | Familiarity with Manufacturers Instructions as per the Instruction Manual | Monthly | Lab Personnel | Lab Personnel | Monthly | n/a | n/a |  | No |
| Oxygen Meter | Manufacturer’s Instructions | Service & Calibration | Manufacturer- authorised Service Technician | Quarterly | e.g. Austech Instruments Pty Ltd | {e.g. area supervisor} | {List Months} | {list room number} | n/a |  | No |
| Radiation Dose & Contamination Monitor {serial number?} | Radiation Control Act 1990 Radiation Control Regulation 2003 | Calibration | Manufacturer- authorised Service Technicians | Annually | e.g. Ansto | {e.g. area supervisor} | e.g. each June | e.g. Room G12 | n/a |  | No |
| Safety Showers {list locations} | AS: 4775: | Test & Verification | N/A | Monthly | {Lab staff roster} | {e.g. area supervisor} | {each month} | Adjacent to the Safety Shower | n/a |  | No |
| Reverse Osmosis Water System | Manufacturer's Instructions | Cartridge Change | Familiarity with Manufacturers Instructions as per the Instruction Manual | Annually | { Nominated Lab Personnel} | {e.g. area supervisor} | {e.g. each April} |  | n/a |  | No |
| Vacuum Plant Pump |  | Routine Service | Manufacturer- authorised Service Technicians | Annually | e.g. Hoslab Pty. Ltd | {e.g. area supervisor} | Each June | Room number | e.g. RA_005 |  | No |
| Gas Supply Manifold | AS 2896 | Routine Exchange of Manifold & System Test | Accredited Gas fitting technicians | Annually | {e.g. Hoslab Pty Ltd} | {e.g. area supervisor} | {e.g. each April} | {room No.} | n/a |  | No |
| Forklift |  |  | Authorised Service Technicians |  |  |  |  |  |  |  | No |
| Portable lifting equipment List all e.g. mobile crane, hoist | AS4991 and AS2660.1 |  | Authorised Inspection Technicians | Manufacturer’s guidelines or 12 months |  |  |  |  |  |  | Mobile cranes with a safe working load of more than 10 tonnes |
| Lifting accessories List all e.g. slings, chains, ropes | AS1380 AS3775 AS1666 AS1438 AS1353 |  | Authorised Inspection Technicians | 12 months. Synthetic slings 3 months |  |  |  |  |  |  | No |

Section 2: FM organised items

Please note:  this list is an excerpt from the full inspection, testing and monitoring schedule held by FM for all infrastructural items.  The items listed in this section have been identified as key risk control items of equipment for the local area and thus requires ongoing local area/School monitoring. This list is not exhaustive and local areas should add any other critical equipment maintained by FM as required.

| Item to be Tested {include ID number if applicable} | Legislation /Standards | Type of Test | Competency required | Frequency | Responsibility for Testing i.e. Performed by? | Testing coordinated by | Date Scheduled | Location of Inspection, Test and Maintenance records | Risk Management form or SWP number {for item of plant} | WorkCover registrable |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Boilers and Pressure Vessels | AS: 3788 | Boiler & Pressure Vessel Inspection | Boiler maker or similar competency as per standard | Annual | {List service contractor e.g. R. And D. Inspection Services Pty. Ltd} | Facilities | {e.g. each January} | e.g. Room G12 | n/a | Boilers with a hazard level of A, B or C |
| Fire Blanket {List locations} | AS 2444 | Inspection & Maintenance | Accredited service provider | Every 6 Months | {e.g. Superior Fire Services Pty Limited} | Facilities | {name months} | Annual Report and Fire Safety Statement | n/a |  |
| Fire Extinguishers list locations | AS 2444 | Inspection & Maintenance | Accredited service provider | Every 6 Months | {e.g. Superior Fire Services Pty Limited} | Facilities | {name months} | Record Stamped on tag on each extinguisher Annual Report & Fire Safety Statement | n/a |  |
| Fire Hose Reel and Fire Hydrant list locations | AS 2441 | Inspection & Maintenance | Accredited service provider | Every 6 Months | {e.g. Superior Fire Services Pty Limited} | Facilities | {name months} | Record Stamped on tag on each Fire Hose Reel & Fire Hydrant Annual Report / Statement | n/a |  |
| Other Emergency equipment: Smoke detectors Sprinklers Emergency lighting Evacuation warning devices | ISO 2919 AS 163.2 AS 2293.1 | Inspection & Maintenance | Accredited service provider | As per Standards | {e.g. Superior Fire Services Pty Limited} | Facilities | {name months} |  |  |  |
| Fume Cabinet {list locations} | AS:2243.9 | Test & Verification | Accredited service provider | Annually | {e.g. Contamination Control Laboratories } | Facilities | {e.g. each April} | Test & Verification Certificate, in room ? | n/a note: there are various risk assessments for tasks conducted in the fume cupboard as per the document control register |  |
| Fixed cranes | AS 1418 | Inspection & Maintenance | Accredited service provider |  |  |  |  |  |  | Tower cranes including self-erecting tower cranes |
| Fixed hoists | AS 1418 | Inspection & Maintenance | Accredited service provider |  |  |  |  |  |  |  |
| Emergency Eye wash and shower | AS4775 | Annual inspection to ensure conformance with AS4775 |  | Annual |  |  |  |  |  |  |
| Fixed gas manifolds |  | Inspection & Maintenance |  |  |  |  |  |  |  |  |
| Fixed local exhaust ventilation |  |  |  |  |  |  |  |  |  |  |
| Gas sensors |  |  |  |  |  |  |  |  |  |  |

| Workplace Inspection Type | Legislation /Standards | Type of Test | Competency required | Frequency | Responsibility | Testing coordinated by | Date | Location of records | Risk Assessment number {for item of plant} | Safe Work Procedure No. {for item of plant} |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Radiation | AS2243.1 | n/a | Radiation Safety Officer | Annual | Radiation Safety Committee Support officer | Radiation Safety Committee Support officer |  | Reports provided to local area supervisor | n/a |  |
| Inspection by the Gene Technology Research Committee (GTRC) | Gene Technology Act and Regulations | n/a | Member of GTRC | Annual | GTRC Support officer | GTRC Support officer |  | Reports provided to local area supervisor | n/a |  |
| HS Committee Inspections | HS Regulation | n/a | HS Consultation training | Annual | Local area committee | Chairperson of HS committee |  | Reports held by chairperson or local area records officer | n/a |  |
| Storage of Chemicals | HS Regulation | Use checklists from the HS Unit website .e.g Chemical Audit Checklist and Dangerous Goods Storage Checklists | Hazardous substances training course | Regularly | Area Supervisor | Area Supervisor |  | Area Supervisor | n/a |  |

Section 3: Template for school / Local area to complete for their own ITM schedule

| Item to be Tested (include ID number if applicable) | Legislation /Standards | Type of Test | Competency required to test equipment | Frequency | Responsibility for Testing (Performed by) | Testing coordinated by | Date Scheduled | Location of ITM records | Hazards identified: | Risk Assessment number | SWP | Competency required to operate | Does equipment or equipment design need to be registered with WorkCover? http://www.workcover.nsw.gov.au http://www.workcover.nsw.gov.au | Description | Manufacturer | Location: Building | Location: Room number | Custodian |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |